# STEMI 3-Year Mortality Risk Prediction System

User Operation Manual v1.0 (GBM Edition)

⚠️ DISCLAIMER: For Research Use Only. Not for Clinical Diagnosis.

______________________________________________________________________

# 1. System Overview

The STEMI Mortality Risk Predictor is an AI-powered clinical decision support tool designed to estimate the 3-year all-cause mortality risk for patients with ST-Segment Elevation Myocardial Infarction (STEMI) undergoing primary PCI. Built upon a state-of-the-art Gradient Boosting Machine (GBM) algorithm, this system integrates 8 key clinical variables to provide precise long-term risk stratification.

## Model Performance Metrics

Internal Validation AUC: 0.91

Internal Validation Accuracy: 93.4%

External Validation AUC: 0.801 (Robust Generalizability)

Risk Threshold (Cut-off): 14.7% (0.147) - Determined by Youden Index

# 2. Key Features

Individual Risk Assessment: Real-time calculation with visual risk gauges.

Batch Cohort Analysis: Process .csv/.xlsx files for large-scale retrospective research.

Explainable AI (SHAP): Visual interpretation of risk drivers (e.g., Age, Respiratory Support).

Automated Reporting: Instant generation of PDF clinical reports for medical records.

# 3. Individual Assessment Guide

Navigate to the 'Risk Assessment' page from the sidebar.

## Step 1: Input Clinical Variables

Enter the following 8 parameters based on admission/discharge data:

| Parameter | Description / Unit |
| --- | --- |
| Age | Patient age in years (20-100) |
| Hemoglobin (Hb) | Hemoglobin level (g/L). Normal: ~120-160 |
| AST | Aspartate Aminotransferase (U/L) |
| Respiratory Support | Invasive mechanical ventilation required? (Yes/No) |
| Beta Blocker | Prescribed at discharge? (Yes/No) |
| Cardiotonics | Inotropes used during hospitalization? (Yes/No) |
| Statins | Prescribed at discharge? (Yes/No) |
| Stent for IRA | Stent strategy: Type 0, 1, or 2 |

## Step 2 & 3: Prediction & Interpretation

Run Prediction: Click the "🚀 CALCULATE RISK" button.

Risk Gauge: Displays mortality probability (Red ≥ 14.7%).

Download Report: Scroll down to download the formal PDF report.

# 4. Batch Cohort Analysis

For processing retrospective datasets in bulk.

## Data Preparation

File format: .csv or .xlsx. Required columns (Case-Sensitive):

Age, Hb, AST, Respiratory support, Beta blocker, Cardiotonics, Statins, Stent for IRA

### Coding Rules:

Categorical variables (e.g., Beta blocker): Code as 0 (No) or 1 (Yes).

Stent for IRA: Code as 0, 1, or 2 based on study protocol.

# 5. Troubleshooting

Q: Upload Failed? A: Check column names. They must match the template exactly.

Q: Result Interpretation? A: 'High Risk' means predicted probability ≥ 14.7%.